|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | |  | http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif  [View this email in your browser](http://social.bluehornet.com/p/vTfKQf4bNH)  http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif   |  | | --- | | Attention ASPS Members |   http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif   |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | **BIA-ALCL Frequently Asked Questions**  **A joint project from the American Society of Plastic Surgeons and the American Society for Aesthetic Plastic Surgery**  The American Society of Plastic Surgeons (ASPS) and the American Society for Aesthetic Plastic Surgery (ASAPS) have worked together to provide our members and the public this BIA-ALCL update.   |  |  | | --- | --- | | **Q:** | What is BIA-ALCL? | | **A:** | BIA-ALCL (Breast Implant-Associated Anaplastic Large Cell Lymphoma) is a rare lymphoma that to date has only been noted to occur in patients with a history of a textured breast implant device – and when caught early, it is curable in most patients. BIA-ALCL is not a cancer of the breast tissue itself. All government authorities and oncology organizations currently classify BIA-ALCL as a lymphoma. Ongoing research continues to better understand and define BIA-ALCL, which consists of a spectrum of stages from a CD30+ seromas/effusions to capsular tumors to lymph node involvement and even distant metastasis. |  |  |  | | --- | --- | | **Q:** | What are the symptoms of BIA-ALCL? | | **A:** | BIA-ALCL usually develops as a delayed swelling of the breast (average 8 years, range 2 to 28 years) after the insertion of textured breast implants, which may present as fluid collecting around the implant or marked breast asymmetry. It can also present as a lump in the breast or armpit. |  |  |  | | --- | --- | | **Q:** | What is the risk of developing BIA-ALCL? | | **A:** | Early in 2017, the FDA issued a report that it had received 359 adverse event reports of breast implants and BIA-ALCL, and nine death reports; however, the FDA warns this data may have duplicates, unverified cases, and may be unreliable. The ASPS/FDA PROFILE Registry reports 186 unique U.S. cases to date. For a frame of reference, both ASPS and ASAPS data report that approximately 300,000 breast augmentations and 150,000 breast reconstructions are performed annually with approximately 10 percent receiving textured implants in the U.S. The lifetime risk for BIA-ALCL in previous epidemiological studies ranges from 1:1000 to 1:30,000 for those with textured implants based on implant sales data from the U.S., Canada, Netherlands, and Australia. Currently, the lifetime risk of developing BIA-ALCL for a smooth-only implant is zero, as there are no reported cases to date of BIA-ALCL in patients exposed to only smooth implants. The risk for different types of textured implants may be different with proportionally more cases of higher surface-area textured implants, such as Biocell and polyurethane, although all textured implants with a sufficient time of follow-up have attributable cases to date. |  |  |  | | --- | --- | | **Q:** | What did the latest FDA statement say in regards to BIA-ALCL? | | **A:** | FDA's Aug. 23, 2017, statement acknowledged that BIA-ALCL is a rare and highly treatable condition that can develop around textured breast implants. The FDA advocated for surgical management in the majority of patients as well as specifically recommended all confirmed BIA-ALCL cases be reported to the [PROFILE registry](http://echo4.bluehornet.com/ct/94786570:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r) for detailed tracking of cases. The statement also affirmed that if a breast implant patient is not experiencing symptoms then there "is no need to change your routine medical care and follow-up." | |  | In October 2017, the European Commission's Scientific Committee on Health, Environmental, and Emerging Risks (SCHEER) released a scientific advice report on BIA-ALCL and also stressed the importance of future research and reporting to prospective patient registries. |  |  |  | | --- | --- | | **Q:** | What is the significance of the latest FDA statement? | | **A:** | The 2017 FDA statement emphasized that this disease was predominantly associated with textured implants. The FDA acknowledged and agreed with the World Health Organization classification of BIA-ALCL as a lymphoma and treatment guidelines established by the National Comprehensive Cancer Network (NCCN). Both ASPS and ASAPS fund research to ascertain what might be the underlying issues causing this cancer, and to try to find a solution so that the disease may be eradicated. |  |  |  | | --- | --- | | **Q:** | Is BIA-ALCL a major concern? | | **A:** | Although the incidence is rare, any procedure that may lead to the death of a patient must be considered a major concern, and something that patients should be made aware of prior to undergoing breast implant surgery. They should be advised of that risk, as well as the risks that surgery itself poses including additional financial costs. | |  | As of Jan. 1, 2018, the [PROFILE registry](http://echo4.bluehornet.com/ct/94786570:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r) has received 186 unique cases of BIA-ALCL in the U.S., 56 percent had a history of cosmetic breast augmentation; 44 percent had a history of post-mastectomy reconstruction. Worldwide, approximately 500 unique cases have been reported which includes 16 disease-related deaths. PROFILE data is regularly updated and available by contacting [www.thepsf.org/PROFILE](http://www.thepsf.org/PROFILE) for additional data and information. ASAPS and ASPS continue to work on patient education tools that will help breast implant patients put this disease in perspective. In simple terms, the relative risk of capsular contracture versus BIA-ALCL is approximately 100 to 3000 times higher for a given patient. Patients often desire more tangible terms for patient education on BIA-ALCL, and consultation talking points can be found in a July 2017 [Micromort Analysis](http://echo4.bluehornet.com/ct/94786571:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r), although these data are in constant evolution as more information is gathered. Though the risk is small, patient safety is the primary focus of our societies, and we strive to educate and inform our members and the public about the symptoms and any risk of BIA-ALCL. |  |  |  | | --- | --- | | **Q:** | Can you explain the differences in implant texture and what role that factor plays in the research? | | **A:** | Although it is rare, BIA-ALCL appears to currently develop exclusively in women with textured implants. To date, there has not been a documented case of BIA-ALCL in a patient with only smooth implants. Proposed theories of the primary potentiator of BIA-ALCL include textured implant particulate, mechanical friction, and/or bacteria/biofilm. Of the 186 unique reported cases of BIA-ALCL to PROFILE as well as world reported cases, silicone and saline fill implants and reconstructive versus cosmetic patients are evenly represented. |  |  |  | | --- | --- | | **Q:** | How does this impact those with breast implants? | | **A:** | ASPS and ASAPS advocate following the FDA recommendation that all women, including those with breast implants follow their normal routine in medical care and follow up, including mammography when appropriate and should immediately contact their physician if they sense any abnormalities within the breast or notice any significant changes. There is no recommended screening for asymptomatic patients. Suspicious fluid collections after one year of implantation should be aspirated and tested for CD30 immunohistochemistry. The FDA recommends all confirmed BIA-ALCL cases be reported to the [PROFILE registry](http://echo4.bluehornet.com/ct/94786570:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r). |  |  |  | | --- | --- | | **Q:** | What about those considering breast implants? | | **A:** | Physicians should include BIA-ALCL in breast-implant patient education materials and informed consent so that patients can determine the right procedure for them. Furthermore, breast implants remain among the most studied medical devices available – and the incidence of BIA-ALCL is low. |  |  |  | | --- | --- | | **Q:** | How is BIA-ALCL treated and what is the prognosis? | | **A:** | Diagnosis and treatment follow standardized guidelines established by the National Comprehensive Cancer Network (NCCN). (Algorithm available on ASPS and ASAPS website). Current recommendations for the treatment of BIA-ALCL call for bilateral capsulectomy and removal of the breast implants. All cases of BIA-ALCL with disease confined to the capsule that have been diagnosed and treated with total capsulectomy have been cured to date. In the 16 known deaths from the disease, all patients either received chemotherapy/XRT alone, died of the treatment itself, had incomplete resection/partial capsule removal, or distant metastasis. The majority of early stage patients treated with total capsulectomy require no additional treatment. Chemotherapy is required for unresectable disease and lymph node and organ metastasis. |  |  |  | | --- | --- | | **Q:** | Are some patients at greater risk than others? | | **A:** | It is not possible to predict who will develop BIA-ALCL. It has occurred in women who have a history of textured breast devices for both cosmetic and reconstructive purposes and has occurred in women with both saline and silicone implants. The following are the current risk factors for BIA-ALCL based on published data and research: |  |  |  | | --- | --- | | **1.** | **Device.** Textured surface devices. There have been no reported pure smooth-walled device cases at this time. | | **2.** | **Genetics.** There has been one published report that there may be a genetic predisposition (germ line mutations in JAK1 and STAT3 genes). Further investigation is required. | | **3.** | **Inflammation.** Chronic inflammation either triggered by bacteria or another factor, has been implicated. | | **4.** | **Time.** BIA-ALCL mean presentation is 8-9 years post-operative. |  |  |  | | --- | --- | | **Q:** | Should healthy patients have their implants removed prophylactically? | | **A:** | The FDA does not suggest additional screening or prophylactic removal of implants for asymptomatic women. |  |  |  | | --- | --- | | **Q:** | Should women with breast implants be screened for BIA-ALCL? | | **A:** | The FDA recommends that asymptomatic women without breast changes do not require more than routine follow-up. If a patient experiences a change in her breasts – especially if there is swelling or a lump – she should undergo examination and appropriate imaging, including ultrasound and fine needle aspiration of any peri-implant fluid. |  |  |  | | --- | --- | | **Q:** | What causes BIA-ALCL? | | **A:** | ASPS, ASERF and the FDA are working proactively to study BIA-ALCL. Bacteriologic contamination, long-term allergic inflammation, implant texturing, and genetic factors have been theorized and are undergoing further study. Research is ongoing and cases are being monitored. Genetic predisposition may play a role. Concentrations of reported cases vary widely across the globe, with some geographic areas reporting very few cases. Ongoing data collection worldwide will help to determine any genetic propensities for this disease. |  |  |  | | --- | --- | | **Q:** | Does the FDA recommend against the use of textured implants? | | **A:** | The FDA affirms that all breast implants carry a reasonable assurance of safety and efficacy. The best practice is always for the physician to discuss with each patient the known risks and potential complications associated with any procedure. It is important for the patient and her doctor to frankly discuss all options available, and the risks involved including BIA-ALCL, capsular contracture, implant malposition, and rates of reoperation. The plastic surgeon must provide a frank and transparent discussion regarding the benefits and risks of implants, both smooth and textured. The patient must then make an informed decision, based upon her own assessment of her needs and the risks involved. It is critical that the patient makes a fully informed decision following a full discussion of the risks and benefits. For clinical situations where use of a smooth versus textured device is equivocal, surgeons should consider a smooth device. |  |  |  | | --- | --- | | **Q:** | Have there been any deaths due to BIA-ALCL? | | **A:** | There have been 16 confirmed deaths globally, which includes 5 U.S. cases, attributed to BIA-ALCL to date. Disease related deaths have now been reported in Australia, Brazil, France, Netherlands, New Zealand, Sweden, Italy, and the U.S. Deaths and advanced disease cases emphasize the importance of disease recognition and proper treatment in a timely fashion. |  |  |  | | --- | --- | | **Q:** | What is the recommended clinical response to a patient presenting with symptoms that could be attributable to BIA-ALCL? | | **A:** | In July 2016, ASPS and ASAPS issued a joint "Tear Sheet" describing the recommended clinical protocol for patients presenting with symptoms that could be attributable to BIA-ALCL. [Get a copy of the ASPS/ASAPS Tear Sheet](http://echo4.bluehornet.com/ct/94786572:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r). | |  | The document can also be [accessed on the ASAPS website](http://echo4.bluehornet.com/ct/94786573:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r). | |  | This protocol formed the framework for the international recommendations by the National Comprehensive Cancer Network (NCCN) for the diagnosis of BIA-ALCL. Following NCCN guidelines, a swollen breast can be evaluated with ultrasound for either a fluid collection, capsular mass, or lymph node swelling. | |  | Fluid collections should be aspirated percutaneously. | |  | Aspirate (minimum 25-50ml) should be sent for: |  |  |  | | --- | --- | | **1.** | CD30 immunohistochemistry | | **2.** | Cell block cytology evaluation and labelled to "rule out BIA-ALCL." | |  | CD30 testing is critical to direct pathologists and help establish a diagnosis prior to any surgical intervention. |  |  |  | | --- | --- | | **Q:** | How is BIA-ALCL diagnosed? | | **A:** | Diagnosis should be made by fluid aspiration in a clinic or by interventional radiology prior to any surgical intervention. Diagnosis requires large anaplastic cells on cytology, CD30+ immunohistochemistry, and an expanded single T-cell clone on flow cytometry. Mammograms are not useful in diagnosing BIA-ALCL. In confirmed cases, PET/CT scans are performed to help stage the disease, evaluate for associated capsule masses (20-40 percent of cases), lymph node metastasis (5-15 percent) or organ metastasis (1-3 percent). Confirmation of diagnosis allows for oncologist consultation and oncology workup prior to surgical intervention. |  |  |  | | --- | --- | | **Q:** | Where can I find more information on BIA-ALCL? | | **A:** | Additional information, downloadable manuscripts, and resources on BIA-ALCL are available online at [www.thepsf.org/PROFILE](http://echo4.bluehornet.com/ct/94786570:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r) and at [www.plasticsurgery.org/alcl](http://echo4.bluehornet.com/ct/94786574:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r) and by searching "ALCL" on RADAR. |   This information represents the data known as of Jan. 1, 2018. Updates to this document will be provided as warranted and as more information is known. | |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | |  | http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif   |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif  [ASPS Blog](http://echo4.bluehornet.com/ct/94786575:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r) | | http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif  [**Contribute to the ASPS Blog »**](http://echo4.bluehornet.com/ct/94786575:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r)  **If you are an ASPS member surgeon, we invite you to become a blog contributor and advance our patient education mission.** | | http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif | |  | | --- | |  |   http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif  The American Society of Plastic Surgeons  444 E. Algonquin Rd.  Arlington Heights, IL 60005  (847) 228-9900  http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif  This message was intended for: [tgrunwald@tbgmd.com](mailto:tgrunwald@tbgmd.com)  You were added to the system June 29, 2011  For more information [**click here.**](http://echo4.bluehornet.com/ct/94786576:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r) [**Update your preferences**](http://echo4.bluehornet.com/ct/94786577:TfKQf4bNH:m:1:1767479038:86A756B0DDB32B9C8FF6A0D71953F9C9:r) |  |   http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif |  |   http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif |  |   http://echo4.bluehornet.com/cimages/b8e10af98747b24e7669936d5433a6e9/empty.gif |